**Attachment no 1**

**ORDER DESCRIPTION**

1. **Object of the contract**

The subject of the order is the supply of gas listed below by name and quantity needed:

1. Arsine (AsH3) 27 kg

1. **The scope of the subject of the contract**

**A detailed description of the subject of the contract is provided in section 5 of this document. The total price for the product specified in point 1 should include the total cost.**

1. **Criterion**

Offers will be evaluated according to a point scale with a maximum number of points of 100.

|  |  |  |
| --- | --- | --- |
| Criterion | Maximum number of points S | Method of awarding points |
| Net price (P) | 100 | S x Pmin/Pi |

Where:

* Pi – net price of goods delivery - for the given offer
* Pmin - the minimum delivery net price for the ordered goods from all offers submitted
* S – number of points

The final score will be calculated by adding up the partial components and then rounded to two decimal places. (rounded from "5" up)

1. **Deadline for completing the order**

**17 weeks from the date of placing the order . The Ordering Party does not allow faster delivery of the subject of the contract as a week earlier. Then, the express consent of the Ordering Party is required. The ordering party requires the application of the EXW Incoterms 2020 delivery principle. EXW (ex works), ie the moment of delivery of the goods is considered to be at the disposal of the buyer in the area indicated by the supplier (factory, plant, etc.).**

**5.** **Parameters**

|  |  |  |  |
| --- | --- | --- | --- |
| Product name | Parametrer | Specification | **has / does not have; yes / no** |
| Arsine (AsH3) | Grade: | ≥99.99995% | ……….. |
| Valve Connection | Din 1 or Diss 632 Pneumatic | ……….. |
| Impurities:  Carbon Monoxide (CO), Carbon Dioxide (CO2), | ≤10 ppbv | ……….. |
| Impurities:  Oxygen (O2) | ≤ 20 ppbv | ……….. |
| Impurities:  Hydrogen Sulfide (H2S), Nitrogen (N2), Argon (Ar), Germane (GeH4), Silane (SiH4) | ≤50 ppbv | ……….. |
| Impurities:  Ethane (C2H6), Methane (CH4), Water (H2O), | ≤100 ppbv | ……….. |